## CLEANBENCH-1001
Date Time | Serial | Location Name | Location | Area | User Name | Group | Sample Time | Cycles | Sample Number | Status | Size 1 | Counts 1 Cumulative | Size 2 | Counts 2 Cumulative | Size 3 | Counts 3 Cumulative | Size 4 | Counts 4 Cumulative | Size 5 | Counts 5 Cumulative | Size 6 | Counts 6 Cumulative | Size 7 | Counts 7 Cumulative | Size 8 | Counts 8 Cumulative | Size 9 | Counts 9 Cumulative | Size 10 | Counts 10 Cumulative | Size 11 | Counts 11 Cumulative | Size 12 | Counts 12 Cumulative | Size 13 | Counts 13 Cumulative | Size 14 | Counts 14 Cumulative | Size 15 | Counts 15 Cumulative | Size 16 | Counts 16 Cumulative | Flow | Temperature oF | Relative Humidity % | Air Velocity | Calibration | Volume | Batch ID | Alarm Reason
2021-09-09 09:57 | 1411533002 | 1 | 951 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 262272 | 0.3 | 7 | 0.5 | 5 | 1 | 3 | 3 | 3 | 5 | 2 | 10 | 2 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.76 |  |  |  | 1 | 1.766 |  |  | N/A
2021-09-09 09:59 | 1411533002 | 2 | 952 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 1 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.76 |  |  |  | 1 | 1.767 |  |  | N/A
2021-09-09 10:00 | 1411533002 | 3 | 953 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 1 | 0.5 | 1 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.765 |  |  | N/A
2021-09-09 10:02 | 1411533002 | 4 | 954 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2021-08-17 08:05 | 1411533002 | 1 | 951 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 1 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.767 |  |  | N/A
2021-08-17 08:07 | 1411533002 | 2 | 952 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.76 |  |  |  | 1 | 1.766 |  |  | N/A
2021-08-17 08:08 | 1411533002 | 3 | 953 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 1 | 0.5 | 1 | 1 | 1 | 3 | 1 | 5 | 1 | 10 | 1 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2021-08-17 08:10 | 1411533002 | 3 | 953 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2021-08-17 08:11 | 1411533002 | 4 | 954 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.76 |  |  |  | 1 | 1.766 |  |  | N/A
2021-07-20 06:23 | 1411533002 | 1 | 951 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.76 |  |  |  | 1 | 1.766 |  |  | N/A
2021-07-20 06:26 | 1411533002 | 2 | 952 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2021-07-20 06:27 | 1411533002 | 3 | 953 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.767 |  |  | N/A
2021-07-20 06:28 | 1411533002 | 4 | 954 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2021-06-04 13:08 | 1411533002 | 1 | 951 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2021-06-04 13:09 | 1411533002 | 2 | 952 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2021-06-04 13:11 | 1411533002 | 3 | 953 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2021-06-04 13:12 | 1411533002 | 4 | 954 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2021-05-05 07:08 | 1411533002 | 1 | 951 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.767 |  |  | N/A
2021-05-05 07:09 | 1411533002 | 2 | 952 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 1 | 0.5 | 1 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.767 |  |  | N/A
2021-05-05 07:10 | 1411533002 | 3 | 953 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2021-05-05 07:12 | 1411533002 | 4 | 954 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2021-04-12 10:47 | 1411533002 | 1 | 951 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2021-04-12 10:49 | 1411533002 | 2 | 952 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.76 |  |  |  | 1 | 1.766 |  |  | N/A
2021-04-12 10:50 | 1411533002 | 3 | 953 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.76 |  |  |  | 1 | 1.766 |  |  | N/A
2021-04-12 10:51 | 1411533002 | 4 | 954 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 262272 | 0.3 | 1 | 0.5 | 1 | 1 | 1 | 3 | 1 | 5 | 1 | 10 | 1 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2021-03-22 10:52 | 1411533002 | 1 | 951 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2021-03-22 10:54 | 1411533002 | 2 | 952 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2021-03-22 10:56 | 1411533002 | 3 | 953 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.767 |  |  | N/A
2021-03-22 10:58 | 1411533002 | 4 | 954 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2021-02-15 12:57 | 1301532001 | 1 | 951 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2021-02-15 12:58 | 1301532001 | 2 | 952 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2021-02-15 13:00 | 1301532001 | 3 | 953 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.76 |  |  |  | 1 | 1.766 |  |  | N/A
2021-02-15 13:01 | 1301532001 | 4 | 954 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.767 |  |  | N/A
2020-12-07 15:24 | 1411533002 | 1 | 951 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 1 | 0.5 | 1 | 1 | 1 | 3 | 1 | 5 | 1 | 10 | 1 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.765 |  |  | N/A
2020-12-07 15:25 | 1411533002 | 2 | 952 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.767 |  |  | N/A
2020-12-07 15:26 | 1411533002 | 3 | 953 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2020-12-07 15:27 | 1411533002 | 4 | 954 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.76 |  |  |  | 1 | 1.766 |  |  | N/A
2020-11-19 10:07 | 1411533002 | 1 | 951 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.767 |  |  | N/A
2020-11-19 10:09 | 1411533002 | 2 | 952 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.767 |  |  | N/A
2020-11-19 10:11 | 1411533002 | 3 | 953 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 1 | 0.5 | 1 | 1 | 1 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.769 |  |  | N/A
2020-11-19 10:12 | 1411533002 | 4 | 954 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.767 |  |  | N/A
2020-10-26 09:15 | 1411533002 | 1 | 951 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2020-10-26 09:16 | 1411533002 | 2 | 952 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 262272 | 0.3 | 4 | 0.5 | 4 | 1 | 4 | 3 | 4 | 5 | 4 | 10 | 3 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2020-10-26 09:18 | 1411533002 | 2 | 952 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.76 |  |  |  | 1 | 1.767 |  |  | N/A
2020-10-26 09:19 | 1411533002 | 2 | 952 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2020-10-26 09:20 | 1411533002 | 3 | 953 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.767 |  |  | N/A
2020-10-26 09:22 | 1411533002 | 4 | 954 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.767 |  |  | N/A
2020-09-02 11:25 | 1411533002 | 1 | 951 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2020-09-02 11:27 | 1411533002 | 2 | 952 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:02 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 2.648 |  |  | N/A
2020-09-02 11:28 | 1411533002 | 3 | 953 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2020-09-02 11:30 | 1411533002 | 4 | 954 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.76 |  |  |  | 1 | 1.766 |  |  | N/A
2020-08-13 12:11 | 1411533002 | 1 | 951 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.765 |  |  | N/A
2020-08-13 12:13 | 1411533002 | 2 | 952 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:02 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 2.651 |  |  | N/A
2020-08-13 12:14 | 1411533002 | 3 | 953 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2020-08-13 12:15 | 1411533002 | 4 | 954 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2020-07-08 11:27 | 1411533002 | 1 | 951 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.76 |  |  |  | 1 | 1.765 |  |  | N/A
2020-07-08 11:28 | 1411533002 | 2 | 951 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.767 |  |  | N/A
2020-07-08 11:30 | 1411533002 | 3 | 953 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.78 |  |  |  | 1 | 1.767 |  |  | N/A
2020-07-08 11:32 | 1411533002 | 4 | 954 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 262272 | 0.3 | 1 | 0.5 | 1 | 1 | 1 | 3 | 1 | 5 | 1 | 10 | 1 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.76 |  |  |  | 1 | 1.767 |  |  | N/A
2020-06-11 10:56 | 1411533002 | 1 | 951 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.767 |  |  | N/A
2020-06-11 10:58 | 1411533002 | 2 | 952 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:02 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 2.649 |  |  | N/A
2020-06-11 11:00 | 1411533002 | 3 | 953 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 1 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2020-06-11 11:01 | 1411533002 | 4 | 954 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.76 |  |  |  | 1 | 1.767 |  |  | N/A
2020-05-11 14:51 | 1301532001 | 1 | 951 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 2 | 0.5 | 1 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.76 |  |  |  | 1 | 1.765 |  |  | N/A
2020-05-11 14:53 | 1301532001 | 2 | 952 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:02 | 0 | 1 | 0 | 0.3 | 1 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 2.648 |  |  | N/A
2020-05-11 14:54 | 1301532001 | 3 | 953 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.76 |  |  |  | 1 | 1.765 |  |  | N/A
2020-05-11 14:55 | 1301532001 | 4 | 954 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.76 |  |  |  | 1 | 1.765 |  |  | N/A
2020-04-15 14:36 | 1301532001 | 1 | 951 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2020-04-15 14:38 | 1301532001 | 2 | 952 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:02 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 2.649 |  |  | N/A
2020-04-15 14:39 | 1301532001 | 3 | 953 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.767 |  |  | N/A
2020-04-15 14:41 | 1301532001 | 4 | 954 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2020-03-16 14:31 | 1301532001 | 1 | 951 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.767 |  |  | N/A
2020-03-16 14:33 | 1301532001 | 2 | 952 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:02 | 0 | 1 | 0 | 0.3 | 1 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 2.65 |  |  | N/A
2020-03-16 14:34 | 1301532001 | 3 | 953 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.767 |  |  | N/A
2020-03-16 14:35 | 1301532001 | 4 | 954 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2020-02-17 08:41 | 1301532001 | 1 | 951 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2020-02-17 08:44 | 1301532001 | 2 | 952 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:02 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 2.649 |  |  | N/A
2020-02-17 08:46 | 1301532001 | 3 | 953 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.76 |  |  |  | 1 | 1.766 |  |  | N/A
2020-02-17 08:47 | 1301532001 | 4 | 954 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2020-01-09 15:58 | 1301532001 | 1 | 951 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.767 |  |  | N/A
2020-01-09 16:00 | 1301532001 | 2 | 952 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:02 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 2.65 |  |  | N/A
2020-01-09 16:01 | 1301532001 | 3 | 953 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.767 |  |  | N/A
2020-01-09 16:02 | 1301532001 | 3 | 953 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.767 |  |  | N/A
2020-01-09 16:03 | 1301532001 | 4 | 954 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.768 |  |  | N/A
2019-12-17 13:57 | 1301532001 | 1 | 951 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:02 | 0 | 1 | 0 | 0.3 | 1 | 0.5 | 1 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 2.65 |  |  | N/A
2019-12-17 13:59 | 1301532001 | 2 | 952 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:02 | 0 | 1 | 0 | 0.3 | 1 | 0.5 | 1 | 1 | 1 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 2.65 |  |  | N/A
2019-12-17 14:00 | 1301532001 | 3 | 953 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:02 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 2.649 |  |  | N/A
2019-12-17 14:02 | 1301532001 | 4 | 954 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:02 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 2.648 |  |  | N/A
2019-11-15 09:38 | 1301532001 | 1 | 951 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:02 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 2.648 |  |  | N/A
2019-11-15 09:40 | 1301532001 | 2 | 952 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:02 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 2.648 |  |  | N/A
2019-11-15 09:41 | 1301532001 | 3 | 953 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:02 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.76 |  |  |  | 1 | 2.649 |  |  | N/A
2019-11-15 09:43 | 1301532001 | 4 | 954 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:02 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 2.649 |  |  | N/A
2019-10-16 12:32 | 1301532001 | 1 | 951 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:02 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 2.648 |  |  | N/A
2019-10-16 12:34 | 1301532001 | 2 | 952 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:02 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.76 |  |  |  | 1 | 2.646 |  |  | N/A
2019-10-16 12:35 | 1301532001 | 3 | 953 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:02 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.76 |  |  |  | 1 | 2.648 |  |  | N/A
2019-10-16 12:37 | 1301532001 | 4 | 954 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:02 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 2.647 |  |  | N/A
2019-09-11 12:05 | 1301532001 | 1 | 951 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:02 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.76 |  |  |  | 1 | 2.649 |  |  | N/A
2019-09-11 12:07 | 1301532001 | 2 | 952 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:02 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 2.65 |  |  | N/A
2019-09-11 12:09 | 1301532001 | 3 | 953 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:02 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 2.649 |  |  | N/A
2019-09-11 12:11 | 1301532001 | 4 | 954 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:02 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 2.65 |  |  | N/A
2019-08-16 11:44 | 1301532001 | 1 | 951 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2019-08-16 11:45 | 1301532001 | 2 | 952 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.768 |  |  | N/A
2019-08-16 11:46 | 1301532001 | 3 | 953 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2019-08-16 11:47 | 1301532001 | 4 | 954 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.767 |  |  | N/A
2019-07-16 10:21 | 1301532001 | 1 | 951 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.765 |  |  | N/A
2019-07-16 10:23 | 1301532001 | 2 | 952 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.765 |  |  | N/A
2019-07-16 10:24 | 1301532001 | 3 | 953 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2019-07-16 10:26 | 1301532001 | 4 | 954 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.765 |  |  | N/A
2019-06-10 13:26 | 1301532001 | 1 | 951 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.76 |  |  |  | 1 | 1.766 |  |  | N/A
2019-06-10 13:27 | 1301532001 | 2 | 952 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.76 |  |  |  | 1 | 1.765 |  |  | N/A
2019-06-10 13:29 | 1301532001 | 3 | 953 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.76 |  |  |  | 1 | 1.765 |  |  | N/A
2019-06-10 13:30 | 1301532001 | 4 | 954 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.765 |  |  | N/A
2019-05-14 10:41 | 1301532001 | 1 | 951 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2019-05-14 10:43 | 1301532001 | 1 | 951 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2019-05-14 10:48 | 1301532001 | 2 | 952 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.76 |  |  |  | 1 | 1.766 |  |  | N/A
2019-05-14 10:49 | 1301532001 | 3 | 953 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.765 |  |  | N/A
2019-05-14 10:51 | 1301532001 | 4 | 954 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.767 |  |  | N/A
2019-04-15 14:03 | 1301532001 | 1 | 951 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2019-04-15 14:05 | 1301532001 | 2 | 952 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.76 |  |  |  | 1 | 1.765 |  |  | N/A
2019-04-15 14:06 | 1301532001 | 3 | 953 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 1 | 0.5 | 1 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2019-04-15 14:08 | 1301532001 | 4 | 954 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2019-03-20 11:24 | 1301532001 | 1 | 951 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.767 |  |  | N/A
2019-03-20 11:25 | 1301532001 | 2 | 952 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.768 |  |  | N/A
2019-03-20 11:27 | 1301532001 | 3 | 953 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.768 |  |  | N/A
2019-03-20 11:28 | 1301532001 | 4 | 954 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.768 |  |  | N/A
2019-02-13 09:16 | 1301532001 | 1 | 951 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2019-02-13 09:17 | 1301532001 | 2 | 952 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2019-02-13 09:19 | 1301532001 | 3 | 953 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2019-02-13 09:20 | 1301532001 | 4 | 954 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.766 |  |  | N/A
2019-01-17 10:53 | 1301532001 | 1 | 951 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.767 |  |  | N/A
2019-01-17 10:55 | 1301532001 | 2 | 952 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.76 |  |  |  | 1 | 1.767 |  |  | N/A
2019-01-17 10:56 | 1301532001 | 3 | 953 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.767 |  |  | N/A
2019-01-17 10:57 | 1301532001 | 4 | 954 | CLEANBENCH-1001 | user | CLEANBENCH-1001 | 0:01 | 0 | 1 | 0 | 0.3 | 0 | 0.5 | 0 | 1 | 0 | 3 | 0 | 5 | 0 | 10 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 1.77 |  |  |  | 1 | 1.767 |  |  | N/A